ECG Arrhythmia Detection Using Machine Learning

Name: Zixiang Li    ID: 3081014L

Introduction

Electrocardiogram (ECG) is the most commonly used and economical tool for diagnosing arrhythmias. However, manual interpretation faces significant challenges: it is time-consuming and has high misdiagnosis rates. A 2016 study showed that approximately one in three patients out of 550,000 had their ECGs misdiagnosed. Therefore, automated machine learning classification systems can improve diagnostic efficiency and accuracy while reducing human errors.

Predictive Question: Can machine learning models accurately classify 8 different types of ECG heartbeats, and which model performs best under different validation strategies?

Methods

2.1 Dataset

The MIT-BIH Arrhythmia Database was used, containing 24-hour ambulatory ECG recordings from 47 subjects, digitized at 360 samples per second with 11-bit resolution. The population consists of 60% inpatients and 40% outpatients. Each heartbeat contains 275 time points. The dataset includes 8 types of ECG beats: Normal (N), Left Bundle Branch Block (L), Right Bundle Branch Block (R), Premature Ventricular Contraction (V), Atrial Premature Beat (A), Fusion (F), Fusion Paced (f), and Paced (/).

2.2 Data Preprocessing

- R-peak Centering: Align R-peaks to fixed positions, extracting equal data points on both sides to maintain consistency

- Standardization: Eliminate amplitude differences between different patients

- Bootstrap Resampling: Balance class distribution using scikit-learn's resample function, calculating target sample size as the mean of abnormal classes

2.3 Validation Strategies

Two validation protocols were applied:

- Beat Holdout: Randomly splits all beats into 75% training (30,992 samples) and 25% testing (37,442 samples). This method may cause data leakage since beats from the same patient appear in both sets.

- Patient Holdout: Patients 104, 113, 119, 208, and 210 are held out for testing (14,482 samples), while remaining 43 patients are used for training (200,352 samples). This avoids data leakage by testing on completely unseen patients.

2.4 Classification Models

- Support Vector Machine (SVM): kernel='rbf', C=1.0, gamma='scale'

- Random Forest: n_estimators=100, max_depth=20, random_state=42

- Multi-Layer Perceptron (MLP): hidden_layer_sizes=(128,64), max_iter=50, activation='relu', solver='adam'

2.5 Hyperparameter Tuning

Systematic hyperparameter tuning was conducted:

Random Forest: n_estimators (50, 100, 200, 500) and max_depth (10, 20, 30, None)

MLP: hidden_layer_sizes ((64,32), (128,64), (256,128), (128,64,32)), max_iter (50, 100, 200, 300), learning_rate_init (0.0001, 0.001, 0.01, 0.1)

2.6 Permutation Feature Importance

To explain model predictions, permutation feature importance with 5-fold cross validation was implemented:

- The 275 time points were divided into 11 slices, each containing 25 samples

- For each fold, the model is trained on training data and predictions are made on test data

- Data points within each slice are randomly shuffled (permuted), and new predictions are made

- The importance score is computed as the accuracy drop caused by the permutation, averaged across all folds

Results

All models were evaluated using Accuracy, Precision, Recall, F1-Score, and Confusion Matrix.

3.1 Model Performance Comparison

Figure 1: Model accuracy comparison across validation strategies

3.2 Performance Metrics

Table 1: Beat Holdout Validation Results

| Model | Accuracy | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- |
| SVM | 93.84% | 96.81% | 93.84% | 94.92% |
| Random Forest | 96.62% | 97.41% | 96.62% | 96.86% |
| MLP | 94.65% | 96.96% | 94.65% | 95.41% |

Table 2: Patient Holdout Validation Results

| Model | Accuracy | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- |
| SVM | 96.33% | 97.44% | 96.33% | 96.69% |
| Random Forest | 99.79% | 99.83% | 99.79% | 99.81% |
| MLP | 99.19% | 99.42% | 99.19% | 99.29% |

3.3 Confusion Matrix - Best Model

Figure 2: Confusion matrix for Random Forest on Patient Holdout validation

3.4 Permutation Feature Importance

Figure 3: Permutation feature importance comparison across three models

3.5 Hyperparameter Tuning Results

Figure 4: Hyperparameter tuning comparison (Default vs Tuned)

Table 3: Hyperparameter Tuning Summary

| Model | Validation | Default | Tuned |
| --- | --- | --- | --- |
| Random Forest | Beat Holdout | 96.62% | 96.91% (+0.29%) |
| Random Forest | Patient Holdout | 99.79% | 99.88% (+0.09%) |
| MLP | Beat Holdout | 94.65% | 96.05% (+1.40%) |
| MLP | Patient Holdout | 99.19% | 99.03% (-0.16%) |

Discussion

- Model Performance: Random Forest achieves the best performance with 99.88% accuracy on Patient Holdout after tuning. This is because ensemble methods reduce variance by averaging multiple decision trees, making the model robust against overfitting.

- Validation Strategy: Patient Holdout consistently outperforms Beat Holdout (2-5% higher). Beat Holdout suffers from data leakage because beats from the same patient share similar morphological characteristics (electrode placement, pre-existing conditions), appearing in both training and testing sets.

- Feature Importance Analysis: All three models identify slice 125-150 (time points around the R-peak) as the most important region, with importance scores around 0.40. This corresponds to the QRS complex in ECG signals, which represents ventricular depolarization and is clinically the most distinctive feature for arrhythmia classification. SVM shows the highest sensitivity to this region, while Random Forest distributes importance more evenly across slices.

- Hyperparameter Tuning: MLP shows significant improvement (+1.40%) on Beat Holdout with larger architecture (256,128), but slight degradation (-0.16%) on Patient Holdout, suggesting overfitting to patient-specific patterns. Random Forest shows stable improvement across both validation strategies.

Conclusion: Random Forest with Patient Holdout validation is recommended for clinical ECG arrhythmia detection due to its superior accuracy, stable performance, and robust generalization to unseen patients. The permutation feature importance analysis confirms that the models correctly focus on the QRS complex region, which aligns with clinical knowledge.